## Gas Turbine
1. INSPECTION HISTORY OF GAS TURBINE
Year | Inspection | Period of inspection
| Grade | #1 |  |  | #2 |  |  | #3 |  |  | #4 |  |  | #5 |  |  | #6
1996 | Major |  |  |  | 1999-10-21 | - | 1999-12-02 | 1999-09-02 | - | 1999-10-16 |  | - |  |  | - |  |  | -
| HGP | 1999-06-08 | - | 1999-06-23 |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ | 1999-10-16 | - | 1999-10-19 | 1999-03-11 | - | 1999-03-16 | 1999-03-17 | - | 1999-03-21 |  | - |  |  | - |  |  | -
| Minor | 1999-12-14 | - | 1999-12-15 |  | - |  | 1999-12-07 | - | 1999-12-08 | 1999-11-02 | - | 1999-11-03 | 1999-11-09 | - | 1999-11-10 | 1999-12-21 | - | 1999-12-22
1997 | Major | 1999-04-12 | - | 1999-05-21 |  | - |  |  | - |  | 1999-10-07 | - | 1999-11-15 | 1999-09-27 | - | 1999-11-05 | 1999-08-23 | - | 1999-10-06
| HGP |  | - |  | 1999-12-05 | - | 1999-12-22 | 1999-11-17 | - | 1999-12-04 |  | - |  |  | - |  |  | -
| CMJ | 1999-10-16 | - | 1999-10-21 | 1999-04-13 | - | 1999-04-19 | 1999-04-20 | - | 1999-04-26 | 1999-02-10 | - | 1999-02-16 | 1999-06-29 | - | 1999-07-05 | 1999-03-06 | - | 1999-03-12
| Minor | 1999-03-01 | - | 1999-03-02 | 1999-02-21 | - | 1999-02-22 | 1999-02-21 | - | 1999-02-22 | 1999-01-11 | - | 1999-01-12 | 1999-01-18 | - | 1999-01-19 | 1999-05-10 | - | 1999-05-11
|  | 1999-07-19 | - | 1999-07-20 | 1998-05-31 | - | 1999-06-01 | 1999-05-31 | - | 1999-06-01 | 1999-04-12 | - | 1999-04-13 | 1999-03-29 | - | 1999-03-30 | 1999-07-12 | - | 1999-07-13
|  | 1999-09-06 | - | 1999-09-07 | 1999-07-26 | - | 1999-07-27 | 1999-08-02 | - | 1999-08-03 | 1999-06-14 | - | 1999-06-15 | 1999-05-17 | - | 1999-05-18 | 1999-11-04 | - | 1999-11-05
|  | 1999-12-27 | - | 1999-12-28 | 1999-08-30 | - | 1999-08-31 | 1999-09-17 | - | 1999-09-18 | 1999-08-09 | - | 1999-08-10 | 1999-08-30 | - | 1999-08-31 |  | -
|  |  | - |  | 1999-10-18 | - | 1999-10-19 |  | - |  | 1999-09-27 | - | 1999-09-28 |  | - |  |  | -
1998 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ | 1999-07-28 | - | 1999-08-07 |  | - |  | 1999-07-28 | - | 1999-08-07 | 1999-04-29 | - | 1999-05-05 | 1999-06-08 | - | 1999-06-14 | 1999-07-01 | - | 1999-07-10
| Minor | 1999-10-06 | - | 1999-10-07 | 1999-03-18 | - | 1999-03-19 | 1999-02-07 | - | 1999-02-08 | 1999-02-21 | - | 1999-02-22 | 1999-02-14 | - | 1999-02-15 | 1999-01-31 | - | 1999-02-01
|  |  | - |  | 1999-05-29 | - | 1999-05-29 | 1999-05-28 | - | 1999-05-29 | 1999-08-29 | - | 1999-08-30 | 1999-05-23 | - | 1999-05-24 | 1999-11-17 | - | 1999-11-18
|  |  | - |  |  | - |  | 1999-10-06 | - | 1999-10-07 | 1999-11-17 | - | 1999-11-18 | 1999-11-17 | - | 1999-11-18 |  | -
1999 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP | 1999-05-31 | - | 1999-06-24 | 1999-03-21 | - | 1999-05-05 |  | - |  | 1999-09-27 | - | 1999-10-25 | 1999-11-29 | - | 1999-12-23 | 1999-10-26 | - | 1999-11-28
| CMJ |  | - |  |  | - |  | 1999-05-20 | - | 1999-05-29 | 1999-01-25 | - | 1999-01-31 |  | - |  |  | -
| Minor | 1999-01-30 | - | 1999-01-31 |  | - |  | 1999-02-02 | - | 1999-02-02 | 1999-01-23 | - | 1999-01-24 | 1999-02-28 | - | 1999-02-28 | 1999-02-17 | - | 1999-02-18
|  |  | - |  |  | - |  |  | - |  | 1999-08-01 | - | 1999-08-01 | 1999-03-27 | - | 1999-03-27 | 1999-03-18 | - | 1999-03-19
2000 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| Minor |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
2001 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ |  | - |  | Apr.2 | - | Apr.10 |  | - |  |  | - |  |  | - |  |  | -
| Minor |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
2002 | Major |  | - |  |  | - |  | Nov.7 | - | Dec.22 |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| Minor |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
|  |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
|  |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
2003 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  | Apr.16 | - | Apr.30 | Apr.1 | - | Apr.15 |  | -
| CMJ |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| Minor |  | - |  |  | - |  |  | - |  | Mar.4 | - | Mar.5 | Mar.4 | - | Mar.5 | Mar.4 | - | Mar.5
2004 | Major |  | - |  |  | - |  | Nov.15 | - | Dec.14 |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ | Mar.2 | - | Mar.11 |  | - |  |  | - |  | Sep.2 | - | Sep.11 | 2004-06-05 | - | 2004-06-14 | 2004-06-12 | - | 2004-06-21
| Minor |  |  |  | Aug.1 | - | Aug.1 |  |  |  | May.28 | - | May.28 |  |  |  | Aug.10 | - | Aug.10
|  |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
2005 | Major
HGP
CMJ
| Minor |  |  |  | Jun.11 | - | Jun.13 | Oct.18 |  | Oct.22 | [6 empty] | Oct.14 | - | Oct.17
2006 | Major
HGP
CMJ
| Minor | Mar.18 | - | Mar.18 | Mar.4 | - | Mar.4 |  |  |  | Mar.4 | - | Mar.6 | Apr.9 | - | Apr.9 | May.6 | - | May.6
|  | Jul.13 | - | Jul.13 | Jul.16 | - | Jul.16 | Jul.16 | - | Jul.18 | Sep.8 | - | Sep.8
|  | Dec.10 | - | Dec.10
2007 | Major | Jan.08 | - | Feb.16 | [9 empty] | Aug.27 | - | Oct.09 | Dec.03 | - | Jan.10
| HGP |  |  |  | Feb.26 | - | Mar.21
| CMJ | [6 empty] | Oct.22 | - | Oct.30
| Minor | Sep.02 | - | Sep.02 | Jun.24 | - | Jun.24 | Jul.01 | - | Jul.01 | Jan.19 | - | Jan.19 | Jan.19 | - | Jan.19 | Mar.30 | - | Mar.30
[5 empty] | Oct.24 | - | Oct.24 | Dec.05 | - | Dec.05 | Feb.11 | - | Feb.11 | Apr.29 | - | Apr.29 | Aug.13 | - | Aug.13
[5 empty] | Dec.05 | - | Dec.05 |  |  |  | May.04 | - | May.04 | Jul.08 | - | Jul.08 | Nov.04 | - | Nov.04
[11 empty] | Jul.01 | - | Jul.01 | Jul.22 | - | Jul.22 | Nov.09 | - | Nov.09
[11 empty] | Sep.02 |  | Sep.02 | Aug.06 | - | Aug.06
[11 empty] | Nov.19 | - | Nov.19 | Aug.20 | - | Aug.20
[11 empty] | Dec.10 | - | Dec.10
[11 empty] | Dec.21 | - | Dec.21
[11 empty] | Dec.31 | - | Dec.31
2008 | Major | [9 empty] | Mar.03 | - | Apr.13
HGP
CMJ
| Minor | Feb.20 | - | Feb.20 | Jan.25 | - | Jan.25 | Mar.31 | - | Mar.31 | Jan.13 | - | Jan.13 | Feb.17 | - | Feb.17 | Jun.08 | - | Jun.08
|  | Dec.04 | - | Dec.04 | Feb.24 | - | Feb.24 |  |  |  | Jan.20 | - | Jan.20 | Feb.25 | - | Feb.25 | Dec.10 | - | Dec.10
[5 empty] | Dec.12 | - | Dec.12 |  |  |  | Jan.27 | - | Jan.27 | Jul.20 | - | Jul.20
[11 empty] | Feb.03 | - | Feb.03
[11 empty] | Feb.17 | - | Feb.17
[11 empty] | Feb.24 | - | Feb.24
[11 empty] | Aug.28 | - | Aug.28
2009 | Major
HGP
CMJ
| Minor | Dec.13 | - | Dec.13 | Mar.12 | - | Mar.12 | Aug.30 | - | Aug.30 | Dec.06 | - | Dec.06 | Aug.29 | - | Aug.29
[5 empty] | Nov.21 | - | Nov.21
2010 | Major
| HGP | [6 empty] | 2011-10-18 | - | 2011-11-09
| CMJ | 2011-04-12 | - | 2011-04-19 | Jan.11 | - | Jan.19 |  |  |  | 2011-11-29 | - | 2011-12-06 | 2011-06-03 | - | 2011-06-10 | 2011-09-27 | - | 2011-10-04
| Minor | 2010-08-29 | - | 2010-08-29 | 2010-06-06 | - | 2011-06-06 | Mar.21 | - | Mar.21 | 2010-05-16 |  |  | Mar.28 | - | Mar.28 | Feb.07 | - | Feb.07
[5 empty] | 2010-10-24 | - | 2010-10-24 | 2010-08-01 | - | 2010-08-01 | 2010-09-24 | - | 2010-09-24 | 2010-10-17 |  | 2010-10-17 | 2010-07-11 | - | 2010-07-11
[17 empty] | 2010-09-12 | - | 2010-09-12
2011 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| Minor | 2011-02-06 | - | 2011-02-06 | 2011-03-20 | - | 2011-03-20 | 2011-07-03 | - | 2011-07-03 | 2011-04-24 | - | 2011-04-24 | 2011-03-13 | - | 2011-03-13 | 2011-02-27 | - | 2011-02-27
|  | 2011-06-12 | - | 2011-06-12 | 2011-08-07 | - | 2011-08-07 | 2011-06-26 | - | 2011-06-26 | 2013-09-25 | - | 2013-09-25 | 2011-05-29 | - | 2011-05-29 | 2011-06-26 | - | 2011-06-26
|  | 2013-11-20 |  | 2013-11-20 |  |  |  | 2013-11-27 |  | 2013-11-27 |  |  |  | 2011-07-17 | - | 2011-07-17
2012 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP | Feb.20 | - | Mar.13 |  | - |  |  | - |  | Sep.6 | - | Sep.27 | Mar.17 | - | Apr.8 | Jun.10 | - | Jul.2
| CMJ |  | - |  |  | - |  | May.17 | - | May.24 |  | - |  |  | - |  |  | -
| Minor | 2013-01-15 |  | 2013-01-15 | 2013-03-18 |  | 2013-03-18 | 2013-04-01 |  | 2013-04-01 | 2013-02-19 |  | 2013-02-19 | 2013-01-01 |  | 2013-01-01 | 2013-04-05 |  | 2013-04-05
|  | 2013-01-29 |  | 2013-01-29 | 2013-07-15 |  | 2013-07-15 | 2013-09-20 |  | 2013-09-20 | 2013-05-20 |  | 2013-05-20 | 2013-08-05 |  | 2013-08-05 | 2013-12-09 |  | 2013-12-09
|  | 2013-02-12 |  | 2013-02-12 | 2013-12-02 |  | 2013-12-02 |  |  |  | 2013-08-17 |  | 2013-08-17
|  | 2013-07-01 |  | 2013-07-01 | [6 empty] | 2013-08-31 |  | 2013-08-31
|  | 2013-11-25 |  | 2013-11-25
2013 | Major |  | - |  |  | - |  | Oct. 8 | - | Nov. 1 |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ | Sep. 28 | - | Oct. 5 | May. 17 | - | May. 25 |  | - |  |  | - |  | Oct. 10 | - | Oct. 17 | Nov. 25 | - | Dec. 1
| Minor | [6 empty] | 2013-02-24 |  | 2013-02-24 | 2013-01-20 |  | 2013-01-20 | 2013-01-13 |  | 2013-01-13
2014 | Major |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| HGP |  | - |  |  | - |  |  | - |  |  | - |  |  | - |  |  | -
| CMJ |  | - |  |  | - |  |  | - |  | Feb. 22 | - | Feb. 28 |  | - |  |  | -
Minor
Class2B
Class2B
Class2B
Class2B

## Steam Turbine
2. INSPECTION HISTORY OF STEAM TURBINE
YEAR | #1 S/T |  |  |  | #2 S/T |  |  |  | #3 S/T |  |  |  | #4 S/T |  |  |  | #50 S/T |  |  |  | #60 S/T
| PLAN |  | ACTUAL |  | PLAN |  | ACTUAL |  | PLAN |  | ACTUAL |  | PLAN |  | ACTUAL |  | PLAN |  | ACTUAL |  | PLAN |  | ACTUAL |  | SPECIAL NOTE
| PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS | PERIOD | DAYS
1973 | 4/15 - | 17 | 4/2 - | 36 |  |  | 5/11 - | 31 | [16 empty] | TURBINE BEARING REPLACED
| 5/1 |  | 5/7 |  |  |  | 6/10 | [17 empty] | PERFORMED TURBINE BALANCING
REPLACED APH BASKETS.
1974 | 8/1 - | 35 | 8/26 - | 29 | 4/1 - | 35 | 4/1 - | 34
| 9/5 |  | 9/23 |  | 5/5 |  | 5/4
1975 | 6/1 - | 30 | 3/13 | 14 | 9/1 - | 30 | 3/26 - | 13 | [16 empty] | BOILER TUBE THICKNESS CHECK
| 6/30 |  | 3/26 |  | 9/30 |  | 4/7
1976 | 2/15 - | 45 | 12/15 - | 45 | 9/1 - | 45 | 3/23 - | 60 | [16 empty] | #1 ACID CLEANING (5/20 - 5/26)
| 3/31 |  | 2/11 |  | 10/14 |  | 5/11 | [17 empty] | #2 ACID CLEANING (5/1 - 5/11)
REPLACED APH BASKETS.
TURBINE ROTOR LIFTING.
REPLACED S/H ATTEMP.
1977 | 2/17- | 45 | 5/1 - | 18 | 8/28 - | 45 | 5/22 - | 14
| 4/2 |  | 5/18 |  | 10/11 |  | 6/4
1978 | 4/16 - | 105 | 11/21 - | 68 | 1/1 - | 105 | 2/6 - | 114 | [16 empty] | CONDENSER TUBE REPLACED
| 7/31 |  | 1/27/79 |  | 4/15 |  | 5/30 | [17 empty] | BOILER TUBE REPLACED.
TBN ROTOR & LOWER CSG LIFT.
REPLACED GEN. WEDGE (BOTH UNIT)
1979 | 5/6 - | 35 | 8/8 - | 8 | 4/1 - | 35 | 7/15 - | 24 | [16 empty] | TURBINE GOVERNOR INSP.
| 6/10 |  | 8/15 |  | 5/5 |  | 8/7
1980 |  |  | 3/9 - | 36 |  |  | 4/26 - | 30 | [16 empty] | #2 TBN ROTOR LIFTING
|  |  | 4/13 |  |  |  | 5/25 | [17 empty] | (REPLACED #2 BRG)
1981 |  |  | 8/17 - | 32 |  |  | 9/23 - | 31 | [16 empty] | #1 & 2 TBN ROTOR LIFTING.
|  |  | 9/17 |  |  |  | 10/23 | [17 empty] | REPLACED APH COLD BASKET (#1&2 BLR)
#1 STACK PAINTING.
1982 |  |  | 7/30 - | 20 |  |  | 10/7 - | 20 | [16 empty] | TBN VLAVE INSP.
|  |  | 8/19 |  |  |  | 10/27 | [17 empty] | #2 STACK PAINTING
1983 |  |  | 10/9 - | 21 |  |  | 10/7 - | 21 | [16 empty] | #1 & #2 TBN ROTOR LIFTING
|  |  | 8/19 |  |  |  | 10/27 | [17 empty] | #1 & #2 TBN #1 BRG REPLACE
REPLACED ENAMAL COATED COLD END
BASKETS OF APH
REPLACED #2 SAH HEATING ELEMENT.
1984 | 4/1 - | 30 | 4/1 - | 30 | 5/1 - | 32 | 5/1 - | 32 | [16 empty] | #1, #2 BLR TUBE ACID CLEANING
| 4/30 |  | 4/30 |  | 6/2 |  | 6/2
1985 | 3/1 | 31 | 3/1 - | 31 | 4/1 - | 30 | 4/1 - | 30 | [16 empty] | RELACED #1 S.A.H. ELEMENT
[5 empty] | 4/30 |  | 4/30 | [17 empty] | #1,#2 TBN ROTOR LIFT
REPLACED APH INTERMEDIATE ELEMENT (DEC)
REPAIRED TBN SUPPORT PIPE & ROD (17STG)
PERFORMED #1,#2 BLR TUBE JET
CREANING
1986 | 6/1 - | 30 | 6/1 - | 30 | 5/1 - | 31 | 5/1 - | 31 | [16 empty] | REPLACED #1 APH INTERMEDIATE ELEMENT (MAR)
| 6/30 |  | 6/30 |  | 5/31 |  | 5/31 | [17 empty] | INSTALLED NEW AUX BLR (20 TON)
REPLACED #1,#2 BURNER P.C.O
#1 ECO TUBE RUPTURE (JULY)
#1,#2 STACK PAINTING (NOV)
#1,#2 STACK GUNNITE (NOV)
1987 | 5/1 - | 31 | 5/1 - | 31 | 4/1 - | 30 | 4/1 - | 30 | [16 empty] | REPLACED #2 APH HOT SIDE ELEMENT (NOV)
| 5/31 |  | 5/31 |  | 4/30 |  | 4/30 | [17 empty] | REPLACED #2 GAS DUCT EXPANSION
JOINT & LAGGING
INTAKE DREDGING WORK
REPLACED REHEATER TUBE (PARTIALLY)
1988 | 3/1 - |  | 3/7 - | 37 |  |  | NO ACTION | [17 empty] | #1 TBN ROTOR LIFT & UT CHECK
| 4/10 |  | 4/12 | [21 empty] | #1 GEN WEDGE & BALANCING
REPLACED #1 GAS DUCT EXPANSION JOINT
REPLACED #1 (CRV BOLT - 2EA)
1989 | 9/18 - | 30 | 9/18 - | 30 | 2/8 - | 50 | 2/8 - | 50 | [16 empty] | REPLACED #2 TBN #3 BRG & CRV BOLT
| 10/18 |  | 10/18 |  | 3/31 |  | 3/31 | [17 empty] | PERFORMED #1 & #2 BLR JET CLEANING
REPLACED #2 APH HOT ELEMENT
W/COLD BASKETS
REPLACED #2 GEN WEDGE
#2 TBN ROTOR UT CHECK
1990 | 10/21 - | 39 | 10/21 - | 39 | 2/1 - | 27 | 2/1 - | 27 | [16 empty] | REPLACED #1 TBN TENNON/SHROUD RING
| 10/28 |  | 10/28 |  | 3/2 |  | 3/2 | [17 empty] | INSPECT #1 STEAM SEAL REGULATOR
REPLACED #1 TBN LUBE OIL
REPLACED #1 TBN THRUST BRG (GEN, SIDE)
REPLACED ROTOR OF #2-B, B.F.W.PUMP MOTOR
1991 | 9/24 - | 24 | 9/24 - | 24 | 2/2 - | 50 | 2/2 - | 50 | [16 empty] | REPLACED #2 TBN TENNON/SHROUD RING
| 10/22 |  | 10/22 |  | 3/24 |  | 3/24 | [17 empty] | REPLACED #2 TBN TIE WIRE
REPLACED #2 TBN LUBE OIL
REPLACE #2 BRG
INSP #2 STEAM SEAL REGULATOR
REPLACE ROTOR OF #10-B, B.F.W
PP MOTOR
REPAIR 'B' T/SCREEN HEAD SECTION
PERFORM ACID CLEAN & JET CLEANING (#1 UNIT)
1992 | 9/28 - | 60 | 9/28 - | 56 | 3/6 - | 10 | 3/6 - | 7 | [16 empty] | PERFORMED EMERGENCY GOV. TIGHT OF #2
| 11/28 |  | 10/24 |  | 3/15 |  | 3/12 | [17 empty] | TBN (TRIP RPM 3860 TO 3950)
[7 empty] | OUTAGE | [17 empty] | #1 UNIT
[7 empty] | 2/2 - | 7 | [16 empty] | REPLACED #4 C.V BUSHING
[7 empty] | 2/9 | [17 empty] | REPLACED CRV BOLT 1EA (RIGHT #14)
[7 empty] | 3/13 - | 3 | [16 empty] | REPLACED SILVER BRUSH SET
[7 empty] | 3/15 | [17 empty] | REPLACE GR FAN OUT BOARD BRG
REWELTED TIE WIRE OF LAST BLADE
PERFORMED GENERATOR REWINDING
REPAIRED COLLERTOR RING OF EXITOR
REPLACED HOT SIDE ELEMENT OF APH
PERFORMED JET ELEANING OF BLR TUBE
GRINDING OFF CRACK OF RIGHT & LEFT CRV BODY
1993 | 10/11 - | 15 | 10/11 - | 15 | 3/2 - | 50 | 3/2 - | 50 | [16 empty] | REPLACED #1 TBN SSR HIGH PRESS VALVE
| 10/25 |  | 10/25 |  | 4/28 |  | 4/28 | [17 empty] | #2 TBN ROTOR LIFTING
REPLACED #1 TBN SILVER BRUSH
#2 TBN-GEN BALANCING
#2 HIP CENTER BORE INSPECTION
#2 LIFE EXTENSION INSPECTION
#2 HIP COUPLING INSPECTION
#2 STACK GUNNITE INSPECTION & REPAIR
#2 TBN CRB STUD BOLT(4EA) REPLACEMENT
1994 |  |  |  |  | 9/1 - | 70 | 9/1 - | 70 | [16 empty] | #2 TBN ROTOR LIFTING
[5 empty] | 11/17 |  | 11/7 | [17 empty] | REPLACED FORK PIN(3EA) OF GEN SIDE OF LP ROTOR
[7 empty] | 2/2 - | 7 | [16 empty] | PERFORMED GEN ROTOR BALANCING
[7 empty] | 2/9 | [17 empty] | REPLACED #2 TBN BRG
[7 empty] | 3/13 - | 3 | [16 empty] | REPLACED INTAKE BAR SCREEN (#2 UNIT)
[7 empty] | 3/15 | [17 empty] | REPLACED LINK CHAIN OF "A" T/SCREEN
INSPECTED "C", "D", M.C.C.W PUMP & FLUID
REPLACED #2 CRV BOLT (2EA) COUPLING
1995 | 3/6 - | 17 | [22 empty] | "B" M.C.C.W PUMP OVERHAUL
| 3/22 | [23 empty] | REPLACED "A" R/A GEAR SET
1996 | ­ | ­ | ­ | ­ | ­ | ­ | ­ | ­
1997 | 3/15 - |  | 3/15 - |  | 9/1 - |  | 9/4 - | [17 empty] | #1,2 UNIT LIFE EXTENSION AND COMBINED
| 6/30 |  | 7/14 |  | 12/14 |  | 12/15 | [17 empty] | CYCLE PROJECT
1998 | 3/15 - |  | 3/15 - | 32 | 11/1 - |  | 11/1 - | 30 | [16 empty] | #1,2 UNIT MINOR INSPECTION
| 4/14 |  | 4/14 |  | 11/30 |  | 11/30
1999 | [24 empty] | #3 S/T COMMERCIAL OPERATION : 10/28
2000 |  |  | 2/27 - |  |  |  | 10/24 - | [17 empty] | #1,2 S/T : Major Overhaul
|  |  | 4/19 |  |  |  | 12/12
2001 | [10 empty] | 2/5 - | [13 empty] | #3 S/T : Major Overhaul
[11 empty] | 3/17 | [13 empty] | #4 S/T COMMERCIAL OPERATION : 12/31
2002 |  |  | 4/30 - | [21 empty] | #1 UNIT MINOR INSPECTION
5/29
2003 | [6 empty] | 4/1 - | [7 empty] | 10/13 - | [9 empty] | #2,4 UNIT MINOR INSPECTION(S/T#4 ROTOR 검사 완료)
[7 empty] | 4/30 | [7 empty] | 11/11
2004 | 4/10 - | 50 | 4/10 - | 50 | [20 empty] | #1 UNIT MAJOR INSPECTION
| 5/27 |  | 5/27
2005 |  |  |  |  | 4/4 - |  | 4/4 - |  | 10/24- | 30 | 10/24- | 30 | [12 empty] | #2 UNIT MAJOR INSPECTION
[5 empty] | 5/23 |  | 5/22 |  | 11/22 |  | 11/22 | [13 empty] | #3 UNIT MINOR INSPECTION
2006 | 10/16 - | 30 | 10/16 - | 30 | [8 empty] | 2/15- | 30 | 2/15- | 28 | [8 empty] | #4 UNIT MINOR INSPECTION
| 11/14 |  | 11/14 | [9 empty] | 3/16 |  | 3/14 | [9 empty] | #1 UNIT MINOR INSPECTION
2007
2008 | 9/21- | 50 | 9/21- | 48 | 11/10- | 10 | 11/10- | 10 |  |  |  |  | 1/14- | 44 | 1/14- | 51 | [8 empty] | #4 UNIT MAJOR INSPECTION
| 11/09 |  | 11/07 |  | 11/19 |  | 11/19 | [5 empty] | 2/27 |  | 3/04 | [9 empty] | #1 UNIT MAJOR INSPECTION, #2 UNIT MINOR INSPECTION
2009 |  |  |  |  | 10/12- | 50 | 10/12- | 50 | 3/09- | 50 | 3/09- | 50 | [12 empty] | #3 UNIT MAJOR INSPECTION
[5 empty] | 11/30 |  | 11/30 |  | 4/27 |  | 4/27 | [13 empty] | #2 UNIT MAJOR INSPECTION
2010 | 10/30- | 10 | 10/30- | 10 | [20 empty] | #1 UNIT MINOR INSPECTION
| 2013-11-08 |  | 2013-11-08
2011 |  |  |  |  | 11/1- | 10 | 11/1- | 10 |  |  |  |  | 9/14- | 30 | 9/14- | 28 | [8 empty] | #2 UNIT MINOR INSPECTION
[5 empty] | 2013-11-10 |  | 2013-11-10 | [5 empty] | 2013-10-13 |  | 2013-10-11 | [9 empty] | #4 UNIT MINOR INSPECTION
2012 | 10/27- | 50 | 10/27- | 46 |  |  |  |  | 3/7- | 30 | 3/7- | 28 | [12 empty] | #1 UNIT MAJOR INSPECTION
| 2013-12-15 |  | 2013-12-11 | [5 empty] | 2013-04-05 |  | 2013-04-03 | [13 empty] | #3 UNIT MINOR INSPECTION
2013 |  |  |  |  | 4/6- | 50 | 4/6- | 38 | [8 empty] | 10/26- | 25 | 10/26- | 18 |  |  |  |  | #2 UNIT MAJOR INSPECTION
[5 empty] | 2013-05-25 |  | 2013-05-13 | [9 empty] | 11/19 |  | 11/12 | [5 empty] | #50 UNIT MINOR INSPECTION
2014 | [8 empty] | 9/6- | 45 |  |  | 5/19- | 50 | [6 empty] | 4/26- | 25 | 4/26- | 20 | #3,4 UNIT MAJOR INSPECTION
[9 empty] | 10/20 |  |  |  | 7/7 | [7 empty] | 5/20 |  | 5/15 |  | #60 UNIT MINOR INSPECTION

## Sheet1
2013-12-11
2013-10-27
46 | 2013-12-15
2013-04-03
2013-03-07
28 | 2013-04-05
2013-05-13
2013-04-06
38 | 2013-05-25